January 1999

MATERIAL SAFETY DATA SHEET

PURE - 22

1. 
CHEMICALS PRODUCT AND COMPANY IDENTIFICATION

PRODUCT NAME:

PURE - 22

OTHER/GENERIC NAMES: Chlorodifluoromethane

PRODUCT USE: 
Refrigerant

MANUFACTURE: 
Pure, Inc




38-18 33rd Street




Long Island City, NY  11101

FOR MORE INFORMATION CALL:

TOLL FREE: 1-800-473-3766 (during business hours)

IN CASE OF EMERGENCY CALL:

CHEMTREC: 1-800-424-9300

2. 
COMPOSITION/INFORMATION ON INGREDIENTS

INGREDIENT NAME



CAS #


WEIGTH %

Chlorodifluoromethane (HCFC-22)

74-45-6

       
100

Trace impurities and additional material names not listed above may also appear in the Regulatory Information section (#15) towards the end of the MSDS. These materials may be listed for local “Right to Know” compliance and for other reasons.

3.
HAZARDS IDENTIFICATION 

EMERGENCY OVERVIEW: Color, volatile liquid with ethereal and faint sweetish odor. Non-flammable material. Overexposure may cause dizziness and loss of concentration. At higher levels, CNS depression and cardiac arrhythmia may result from exposure. Vapors displace air and can cause asphyxiation in confined space. At higher temperatures, (> 250 C), decomposition products may include hydrochloric Acid (HCL), Hydrofluoric (HF), and carbonyl halides such as phosgene.

POTENTIAL HEALTH HAZARD

SKIN:

Irritation would result from a defatting action on tissue. Liquid contact with skin could 

cause frostbite

EYES : 
Liquid contact can cause frostbite, which may be severe. Mist may irritate.

MATERIAL SAFETY DATA SHEET

PURE - 22

INHALATION:

PURE-22 exhibits low toxicity in animals. However, when oxygen levels are reduced to 12-14% by displacement symptoms of asphyxiation, loss of coordination, increased pulse rate and deeper respiration will occur. At levels, cardiac arrhythmia may occur.

INGESTION:

Ingestion is an unlike route of exposure because of its low boiling point. Should it occur, discomfort in the gastrointestinal tract would result from the rapid evaporation of the liquid. Necrosis from freezing of tissue could occur.

DELAYED EFFECTS: None Known

Ingredients found on one of the OSHA designated carcinogen lists are listed below.

Ingredient Name

NTP Status

IARC Status

OSHA List
No Ingredients listed in this section

4.
FRIST AID MEASURES

SKIN:
          
Promptly flush skin with water until all chemical is removed. If  there is 

evidence of frostbite, bathe (do not rub) with lukewarm (not hot) water. In the absence of water, cover with clean, soft with clean, soft wool or similar covering. Call a physician.

EYE:
Immediately flush with large amounts of water for least 15 minutes (in case of frostbite, water should be lukewarm –not hot), lifting eyelids occasionally to facilitate irrigation. Get medical attention if symptoms persist.

INHALATION:
Immediately remove to fresh air. If breathing has stopped, give artificial respiration. Use oxygen as required, provide qualified operator is available. Call a physician. Do not give epinephrine (adrenaline).

INGESTION:
Ingestion is an unlikely route of exposure and is not likely to be hazardous. Do not induce vomiting unless instructed to do so by physician

ADIVICE TO PHYSICIAN:


Because of possible disturbances of cardiac rhythm, catecholamine drugs such as epinephrine should be used with special caution only in situations of emergency life support. Treatment of overexposure should be directed at the control of symptoms and clinical conditions

5. FIRE FIGTHING MEASURE

FLAMMABLE PROPERTIES:

FLAS POINT: N.A.-No flash point.

FLASH POINT METHOD: ASTM D1310-67 and ASTM D-56-82

AUTOIGNITION TEMPERATURE: Unknown

UPPER FLAME LIMIT (Volume % in Air): None

LOWER FLAME LIMIT (Volume % in Air): None.

MATERIAL SAFETY DATA SHEET

PURE - 22

FLAME PROPAGATION RATE  (Solids): Not Applicable

OSHA FLAMMABILITY CLASS: Not applicable

EXTINGUISHING MEDIA:


     Use may standard agent – choose the one most appropriate for type of surrounding 

     fire (material itself is not flammable).

UNUSUAL FIRE AND EXPLOSION HAZARDS:

Pure - 22 is not flammable at ambient temperatures and atmospheric pressure.  However this material will become combustible when mixed with air under pressure and exposed to strong ignition source. Contact with certain metals may result in information of explosive or exothermic reaction under specific condition (e.g., very high temperatures and or/ appropriate pressures).

SPECIAL FIREFIGTHING RECAUTIONS/INSTRUCTION:


     Firefighters should wear self-contained, NIOSH-approved breathing for protection against 

     possible toxic decomposition products. Proper eye and skin protection should. Use water 

     spray to keep fire-exposed containers cool and to suppress vapors.

6. 
ACCIDENTAL RELEASE MEASURE

IN CASE OF SPILL OR OTHER RELEASE:

(Always wear recommended personal protective equipment). Evacuate all unprotected personnel. Protected personnel should removed any ignition source and shut off leak, if without risk, and provide ventilation. Unprotected personnel should not return until air has been tested and determined safe, including low-lying areas.

Spills and release may have to be reported to Federal and/or local authorities. See the Regulatory Information section (#15) regarding reporting requirements.

7.
HANDLING AND STOREGE

NORMAL HANDLING:


 (Always wear recommended personal protective equipment) Avoid breathing vapors or liquid contact with eyes, skin or clothing. Do not puncture or drop cylinder, expose them to open flame or excessive heat. Use authorized containers only. Follow standard safety precautions for handling and use of cylinders of compressed gases. PURE-22 should not be mixed with air above atmospheric pressure for leak testing or any other purpose. See section 5: Unusual fire and explosion Hazards.

STORAGE RECOMMEDATIONS:

Store in a cool, well-ventilated area of low fire risk. Protect container and its fitting from physical damage. Storage in subsurface locations should be avoided. Close valve tightly and replace bung after use and when empty.

8. EXPOSURE CONTROL/PERSONAL PROTECTION

ENGINEERING CONTROLS:

Provide local exhaust at filling zones and areas where leakage is probable. Mechanicals (General) ventilation may be adequate for other operating and storage areas.

MATERIAL SAFETY DATA SHEET

PURE - 22

PERSONAL PROTECTIVE EQUIPMENT:

SKIN PROTECTION: 

Skin contact with refrigerants gases may cause frosbite. General work clothing and glove  (leather) should provide adequate protection under routine condition. If prolonged contact with the liquid or gas is anticipated, insulated gloves constructed of PVA, neoprene or butyl rubber should be used. Any contaminated clothing should be promptly removed and washed before reuse.

EYE PROTECTION:

For normal conditions, wear safety glasses. Where there is reasonable probability of liquid contact, wear chemical safety goggles.

RESPIRATORY PROTECTION:

None generally required for adequately ventilated work situations. For accidental or non-ventilated situations, above the recommended PEL (1000 ppm), use a self-contained, NIOSH-approved breathing apparatus or supplied air respirator.

ADDITIONAL RECOMMENDATIONS:

Wear impervious boots in case of spillage or leakage, or if there is probability of repeated or prolonged contact with liquid product. High dose-level warning signs are recommended for areas of principal exposure. Provide eyewash stations and quick-drench shower facilities at convenient locations. For tank cleaning operations, see OSHA regulations.

EXPOSURE GUIDELINES:
  (Guidelines exist for the following ingredients)

Ingredients Name  

ACGIH TLV

OSHA PEL

OtherLimit Chlorodifluoromethane

1000 ppm (TWA)
1000 ppm (TWA)
   None

Other exposure limits for decomposition products normally associated with product use are follows:

Hydrogen Fluoride: ACGIH TLV = 3 ppm ceiling

9.
PHSICAL AND CHEMICAL PROPERTIES

APPERANCE:


Clear colorless liquid and vapor.

PHYSICAL STATE:

PURE - 22 is a gas normal temperature

MOLECULAR WEIGHT:
86.45

CHEMICALS FORMULA:
CHCIF2
ODOR:


Faint ethereal odor.

SPECIFIC GRAVITY:
(Water = 1.0)

1.21 @21.1o C (70o F)

SOLUBILITY IN WATER:
(Weight %)

0.3WT%@25o C and 1 atmosphere

pH:



Neutral

MATERIAL SAFETY DATA SHEET

PURE – 22

BOILING POINT:

-40.8o C(-41.40o F)  C @ 760 MM Hg

MELTING POINT:

-160o  C (-256o F)

VAPOR PRESSURE:
136.1psia 21.1o C (70o F)

VAPOR DENITY: 

(Air=1.0)
EVAPORATION RATE:
Greater than 1 Compared to: 
CCI4
% VOLATILES:
% Volatiles  by volume @ 20o C (68oF) = 100

FLASH POINT:
N.A. – No flash point


(Flash point method and additional flammability data are found in section 5.)

10. 
STABILITY AND REACTIVITY

NORMALLY STABLE: (Condition to Avoid)


The product is stable.


Avoid any source of ignition, such as ligthted cigaretts, flames, hot spots 

welding. May yield toxid and/or corrosive decomposition products. Avoid 

mixing with air oxygen abave atmospheric pressere.

INCOMPATIBILITIES:

Freshly abraded aluminum surface (may cause strong exothermic reaction). Chemically active metals: sodium, potassium, calcium, powdered aluminum, magnesium and zinc.

HAZARDOUS DECOMPOSITION PRODUCTS:

Halogens, holeg acids, and possibly carbonyl halides. These are toxid and corrosive.

HAZARDOUS POLYMERIZATION:


Will not occur

11. 
TOXICOLOGICAL INFORMATION

IMMEDIATE (ACUTE) EFFECTS:


LC50 – 4 hour (rat): Greater than or equal to 300,000 ppm

 
Cardiac Sensitizition Threshold................50,000 ppm

DELAYED (SUBCHRONICS & CHRONIC) EFFECTS:


Subchoronics: NOEL........10,000 ppm


Not teratogenic



Not Mutagenic in  in-vitro and in-vivo test

OTHER DATA:


Lifetime exposure of male rates was associated with a small increase in salivary 

gland fibrosarcomas.

12. 
ECOLOGICAL INFORMATION

Degradability (BOD):
Not pertinent

Octanol Water Partion Coefficient: Unknown

MATERIAL SAFETY DATA SHEET

PURE - 22

13. 
DISPOSAL CONSIDERATIONS

RCRA:

Is the unused product a RCRA hazardous waste if discarded?
Not a hazardous Waste.

If yes, the RCRA ID number is: 

Not applicable

OTHER DISPOSAL CONSIDERATIONS: Disposal must comply with federal, state and local disposal or discharge laws. Disposal of wate PURE-22 (Chlorodifluoromethane) is subject to federal regulations. Users should review their operations, then consult with appropriate regulatory agencies before discharging or disposing of waste material. Disposal by licensed waste disposal company may be necessary.

The information offered here is for the product as shipped. Use and/or alterations to the product such as mixing with other material may significantly change characteristics of the material and alter the RCRA classification and the proper disposal method.


14.
TRANSPORT INFORMATION

US DOT HAZARD CLASS:
Chlorodifluoromethane (R-22)





US DOT HAZARD CLASS:2.2

US DOT ID NUMBER:
UN1018

For additional information on shipping regulationaffecting this material, contact the information number found on the first page.

15.
REGULATION INFORMATION

TOXID SUBTANCES CONTROL ACT (TSCA):

TSCA INVENTORY STATUS:
       PURE-22 is on TSCA inventory

OTHER  TSCA ISSUES:

       Not Applicable

SARA TITLE III/CERCLA:

RQs & TPQs
“Reportable Quantities” (RQs) and/or “Threshold Planning Quantities” (TPQS) exist for the following ingredients.





SARA/CERCLA

SARA EHS

Ingredient


RQ (lbs)


TPO (lbs)

Spills/release resulting in the loss of any ingredient at or abovee its RQ requires immediate notification to the National Response Center (1-800-424-88020) and to your Local Emergency Planning Committee.

SECTION  311 HAZARD CLASS:
IMMEDIATE






PRESSURE

MATERIAL SAFETY DATA SHEET

PURE - 22

SARA313 TOXID CHEMICALS:

The following ingredients are SARA313 “Toxid chemicals”. CAS #’s and wt. % are found in section #2

Ingredient





Comment

Chlorodifluoromethane




None

STATE RIGHT TO KNOW:

In addition to the ingredients found in section 2, following are listed for state right-to know purpose:

Ingredient




Wt.%

Comment
No Ingredients listed in this section

ADDITIONAL REGULATORY INFORMATION:


WARNING:


DO NOT VENT TO THE ATMOSPHERE. TO COMPLY WITH PROVISIONS OF THE  U.S. CLEAN AIR ACT, ANY RESIDUAL MUST BE RECOVERED.

CONTAINS PURE-22A HCFC, A SUBSTANCE WHICH HARMS PUBLIC HEALTH AND ENVIRONMENT BY DESTROYING OZONE IN THE UPPER ATMOSPHERE. DESTRUCTION OF THE OZONE LAYER CAN LEAD TO INCREASED ULTRAVIOLET RADIATION WHICH, WITH EXCESS EXPOSURE TO SUNLIGHT, CAN LEAD TO AN INCREASE IN SKIN CANCER AND EYE CATARACTS.

16. OTHER INFORMATION

HMIS Classification 2-0-0

NFPA Classification 2-0-0

REGULATORY STANDRADS:`
(1) OSHA regulations for compressed gases: 29 CFR 1910.101

(2) DOT classification per 49 CFR 172.101

(3) Clean Air Amendment listing: Class II




